## Slide 1: 光纤显微图像重建的 机器学习方法
陈照青
2020040904012

## Slide 2: 目录
研究背景
研究现状
研究内容
研究方法及关键技术
课题进度安排

## Slide 3: 研究背景
01
02
03
04
PART

## Slide 4: 无透镜光纤内窥镜
传统内窥镜：基于透镜组的光纤内窥镜
新型内窥镜：无透镜光纤内窥镜镜
优势：尺寸小，柔韧性好 → 可对狭窄区域进行高分辨率成像
重要应用：医学体内成像、芯片制造、航空发动机检修等
传统内窥镜
~350um
超细柔性光纤束（MCF）
无透镜光纤内窥镜

## Slide 5: 研究现状
02
03
04
05
01
PART

## Slide 6: 成像技术
方法：利用染剂增强图像对比度
缺点：可能将有害化学试剂引入体内
荧光成像技术
定量相位成像
方法：利用相位信息，提高图像对比度
优点：无需染色即可提升图像质量，可提供样本的折射率和干质量等重要信息
荧光成像技术
定量相位成像

## Slide 7: 定量相位成像
定量相位成像质量差
定量相位成像缺点
问题原因
上万独立光纤芯中的光程差导致的光场相位失真
离散的纤芯分布导致纤芯间图像信息缺失
纤芯间图像信息缺失
相位失真
多芯光纤中的定量相位成像

## Slide 8: 相位图像恢复算法
传统相位图像恢复算法
Gerchberg-Saxton算法和FAST算法
内容：通过迭代计算入射和出射光场以恢复图像相位
优点：在相位失真较大时，仍能有效恢复相位图
缺点：成像质量差，处理速度慢
深度学习算法
Unet模型
内容：通过Unet模型实现端到端的相位图像恢复
优点：成像质量高，处理速度快
缺点：在重建高分辨率图像时，成像质量较差
传统相位恢复算法与深度学习算法

## Slide 9: 研究内容
03
04
05
06
02
01
PART

## Slide 10: 研究内容
开发深度学习模型，实现由远场散斑图像重建真实图像
结合具体场景，优化图像重建模型
数据集获取
搭建多芯光纤无透镜成像的光学系统
利用该光学系统，生成远场散斑图像数据集
模型开发
性能测试
测试图像重建模型的重建效果、光学性能和泛化性
多芯光纤无透镜成像系统

## Slide 11: 研究方法及关键技术
04
05
06
07
03
02
PART

## Slide 12: 模型开发
方法：采用了编码器-解码器结构，前半部
分为特征提取， 后半部分为上采样
优点：最简单、最常用的图像重建模型
Unet复现
GAN模型搭建
方法：通过生成器和判别器的对抗，生成与原始数据相似的实例
优点：生成图像质量高
缺点：训练不稳定，生成高分辨率图像时效果较差
Unet模型
GAN模型

## Slide 13: 模型开发
Diffusion模型搭建
方法：通过一系列高斯噪声，将输入图片逐渐转变为纯高斯噪声，随后模型将高斯噪声逐渐恢复为原图像
优点：生成高分辨率图像时，图像质量高，纹理与细节丰富
缺点：图像生成时间较长
Diffusion模型

## Slide 14: 性能测试
图像重建效果
测试模型在Imagenet数据集上的重建效果
光学表征
使用1951 USAF分辨率测试板，基于Abbe Limit准则，确定图像重建后能达到的最小分辨率
泛化性
通过迁移学习，将模型应用于细胞图像数据集，测量重建细胞图像的精度
利用大模型SAM对比真实细胞图片和生成细胞图片的细胞分割图，计算两者的交并比
Imagenet图像重建初步效果
a.远场散斑图
b.生成图
c.真实图

## Slide 15: 课题进度安排
05
06
07
08
04
03
PART

## Slide 16: 课题进度安排
课 题 进 度 安 排 | 起止时间 | 完成内容
 | 七学期10-12周 | 背景调研
 | 七学期13-14周 | 复现光纤显微图像重建的sota模型
 | 七学期15-16周 | 复现光纤显微图像重建的sota模型
 | 七学期17-18周 | 将GAN模型应用到光纤显微图像重建
 | 七学期19-20周 | 将Diffusion模型应用到光纤显微图像重建

## Slide 17: 课题进度安排
课 题 进 度 安 排 | 起止时间 | 完成内容
 | 八学期1-2周 | 计算光纤显微图像重建的测试指标
 | 八学期3-4周 | 测试图像重建模型的泛化能力
 | 八学期5-6周 | 毕业论文撰写
 | 八学期7-8周 | 毕业论文撰写
 | 八学期9-10周 | 论文终稿修改
 | 八学期11-12周 | 准备毕业设计答辩

## Slide 18: 参考文献
[1]J. Sun, J. Wu, S. Wu, R. Goswami, S. Girardo, L. Cao, J. Guck, N. Koukourakis, and J. Czarske, "Quantitative Phase Imaging Through an Ultra-Thin Lensless Fiber Endoscope," Light: Science & Applications, vol. 11, no. 1, pp. 204, 2022.
[2]R. Kuschmierz, E. Scharf, D. Ortegón-González, T. Glosemeyer, and J. Czarske, "Ultra-Thin 3D Lensless Fiber Endoscopy Using Diffractive Optical Elements and Deep Neural Networks," Light: Advanced Manufacturing, vol. 2, no. 4, pp. 415-424, 2021.
[3]W. Göbel, J. Kerr, A. Nimmerjahn, and F. Helmchen, "Miniaturized Two-Photon Microscope Based on a Flexible Coherent Fiber Bundle and a Gradient-Index Lens Objective," Optics Letters, vol. 29, no. 21, pp. 2521-2523, 2004.
[4]N. Badt and O. Katz, "Real-Time Holographic Lensless Micro-Endoscopy Through Flexible Fibers via Fiber Bundle Distal Holography," Nature Communications, vol. 13, no. 1, pp. 6055, 2022.
[5]J. Wu, T. Wang, O. Uckermann, R. Galli, G. Schackert, L. Cao, J. Czarske, and R. Kuschmierz, "Learned End-to-End High-Resolution Lensless Fiber Imaging Towards Real-Time Cancer Diagnosis," Scientific Reports, vol. 12, no. 1, pp. 18846, 2022.
[6]Y. Park, C. Depeursinge, and G. Popescu, "Quantitative Phase Imaging in Biomedicine," Nature Photonics, vol. 12, no. 10, pp. 578-589, 2018.
[7]J. Sun and J. Czarske, "Compressive Holographic Sensing Simplifies Quantitative Phase Imaging," Light: Science & Applications, vol. 12, no. 1, pp. 121, 2023.
[8]R. Kuschmierz, E. Scharf, N. Koukourakis, and J. Czarske, "Self-Calibration of Lensless Holographic Endoscope Using Programmable Guide Stars," Optics Letters, vol. 43, no. 12, pp. 2997-3000, 2018.
[9]J. Lee, H. Kim, H. Cho, Y. Jo, Y. Song, D. Ahn, K. Lee, Y. Park, and S. Ye, "Deep-Learning-Based Label-Free Segmentation of Cell Nuclei in Time-Lapse Refractive Index Tomograms," IEEE Access, vol. 7, pp. 83449-83460, 2019.
[10]H. Hai, S. Pan, M. Liao, D. Lu, W. He, and X. Peng, "Cryptanalysis of Random-Phase-Encoding-Based Optical Cryptosystem via Deep Learning," Optics Express, vol. 27, no. 15, pp. 21204-21213, 2019.
[11]F. Helmchen, M. Fee, D. Tank, and W. Denk, "A Miniature Head-Mounted Two-Photon Microscope: High-Resolution Brain Imaging in Freely Moving Animals," Neuron, vol. 31, no. 6, pp. 903-912, 2001.
[12]A. Monfared, N. Blevins, E. Cheung, J. Jung, G. Popelka, and M. Schnitzer, "In Vivo Imaging of Mammalian Cochlear Blood Flow Using Fluorescence Microendoscopy," Otology & Neurotology: Official Publication of the American Otological Society, American Neurotology Society [and] European Academy of Otology and Neurotology, vol. 27, no. 2, pp. 144, 2006.
[13]C. Bashford, C. Barlow, B. Chance, J. Haselgrove, and J. Sorge, "Optical Measurements of Oxygen Delivery and Consumption in Gerbil Cerebral Cortex," American Journal of Physiology-Cell Physiology, vol. 242, no. 5, pp. C265-C271, 1982.
[14]D Bird and Min Gu, "Fibre-Optic Two-Photon Scanning Fluorescence Microscopy," Journal of Microscopy, vol. 208, no. 1, pp. 35–48, 2002.

## Slide 19: 参考文献
[15]Kenneth Ghiggino, Martin Harris, and Paul Spizzirri, "Fluorescence Lifetime Measurements Using a Novel Fiber-Optic Laser Scanning Confocal Microscope," Review of Scientific Instruments, vol. 63, no. 5, pp. 2999–3002, 1992.
[16]Damian Bird and Min Gu, "Compact Two-Photon Fluorescence Microscope Based on a Single-Mode Fiber Coupler," Optics Letters, vol. 27, no. 12, pp. 1031–1033, 2002.
[17]K. Carlson, M. Chidley, K. Sung, M. Descour, A. Gillenwater, M. Follen, and R. Richards-Kortum, "In Vivo Fiber-optic Confocal Reflectance Microscope with an Injection-molded Plastic Miniature Objective Lens," Applied Optics, vol. 44, no. 10, pp. 1792-1797, 2005.
[18]L. Giniunas, R. Juskaitis, and S. Shatalin, "Scanning Fibre-Optic Microscope," Electronics Letters, vol. 9, no. 27, pp. 724-726, 1991.
[19]L. Giniūnas, R. Juškaitis, and S. Shatalin, "Endoscope with Optical Sectioning Capability," Applied Optics, vol. 32, no. 16, pp. 2888-2890, 1993.
[20]J. Fienup, "Phase Retrieval Algorithms: A Comparison," Applied Optics, vol. 21, no. 15, pp. 2758-2769, 1982.
[21]S. Rothe, P. Daferner, S. Heide, D. Krause, F. Schmieder, N. Koukourakis, and J. Czarske, "Benchmarking Analysis of Computer Generated Holograms for Complex Wavefront Shaping Using Pixelated Phase Modulators," Optics Express, vol. 29, no. 23, pp. 37602-37616, 2021.
[22]D. Kogan, S. Sivankutty, V. Tsvirkun, G. Bouwmans, E. Andresen, H. Rigneault, and D. Oron, "Phase Retrieval in Multicore Fiber Bundles," Optics Letters, vol. 42, no. 3, pp. 647-650, 2017.
[23]C. Guo, Y. Zhao, J. Tan, S. Liu, and Z. Liu, "Multi-distance Phase Retrieval with a Weighted Shrink-wrap Constraint," Optics and Lasers in Engineering, vol. 113, pp. 1-5, 2019.
[24]Z. Zhang, B. Zhao, Y. Chen, Z. Wang, D. Wang, J. Sun, J. Zhang, Z. Xu, and X. Li, "ASF-Transformer: Neutralizing the Impact of Atmospheric Turbulence on Optical Imaging Through Alternating Learning in the Spatial and Frequency Domains," Optics Express, vol. 31, no. 22, pp. 37128-37141, 2023.
[25]H. Xiao, K. Rasul, and R. Vollgraf, "Fashion-MNIST: A Novel Image Dataset for Benchmarking Machine Learning Algorithms," arXiv preprint, arXiv:1708.07747, 2017.
[26]Y. LeCun, L. Bottou, Y. Bengio, and P. Haffner, "Gradient-Based Learning Applied to Document Recognition," Proceedings of the IEEE, vol. 86, no. 11, pp. 2278-2324, 1998.
[27]A. Krizhevsky, I. Sutskever, and G. Hinton, "Imagenet Classification with Deep Convolutional Neural Networks," in Proc. Advances in Neural Information Processing Systems, vol. 25, 2012.
[28]D. Fried, "Optical Resolution Through a Randomly Inhomogeneous Medium for Very Long and Very Short Exposures," JOSA, vol. 56, no. 10, pp. 1372-1379, 1966.

## Slide 20: 参考文献
[29]D. Jin, Y. Chen, Y. Lu, J. Chen, P. Wang, Z. Liu, S. Guo, and X. Bai, "Neutralizing the Impact of Atmospheric Turbulence on Complex Scene Imaging via Deep Learning," Nature Machine Intelligence, vol. 3, no. 10, pp. 876-884, 2021.
[30]R. Lane, A. Glindemann, and J. Dainty, "Simulation of a Kolmogorov Phase Screen," Waves in Random Media, vol. 2, no. 3, p. 209, 1992.
[31]A. Vaswani, N. Shazeer, N. Parmar, J. Uszkoreit, L. Jones, A. Gomez, Ł. Kaiser, and I. Polosukhin, "Attention Is All You Need,"in Proc. Advances in Neural Information Processing Systems, vol. 30, 2017.

## Slide 21: 请各位老师批评指正！